SECTION 13 48 13

Green Glue Viscoelastic Damping Compound

PART 1 GENERAL

- SECTION INCLUDES

  - Green Glue viscoelastic damping compound.

- SUBMITTALS

  - Product Data: Manufacturer’s data sheet and installation instructions.

- QUALITY ASSURANCE

  - Qualifications:

    - Manufacturers: Provide viscoelastic damping compound from a single manufacturer.

    - Installers: Utilize an installer having demonstrated experience on projects of comparable size and complexity.

- DELIVERY, STORAGE, AND HANDLING

  - Storage and Handling Requirements:

    - Store tubes indoors in a clean, cool, dry place, and out of direct sunlight.

    - Store tubes in a space where the ambient temperature and humidity conditions are being maintained at the levels indicated for the project when occupied for its intended use.

- SITE CONDITIONS

  - Ambient Conditions:

    - Maintain ambient temperature and humidity conditions at levels indicated for the project when occupied for its intended use.

    - Do not install product under environmental conditions outside manufacturer’s recommended limits.

- WARRANTY

  - Provide manufacturer’s written product warranty per Section 01 77 00 – Closeout Procedures.

PART 2 PRODUCTS

- MANUFACTURERS

  - Second Skin Audio, 13825 W Business Center Drive STE B, Lake Forest, IL 60045.
Phone: 800-679-8511. Website: www.secondskinaudio.com

- DESCRIPTION

  - Product: Green Glue viscoelastic damping compound by Second Skin Audio

  - Product Information:

    - Composition:		Viscoelastic damping compound

    - Size:			28 oz. tube

    - Coverage: 		Approximately 16 sqft per tube at full coverage

    - Technical Specs: 	Refer to manufacturer data sheet for technical specifications and
 			performance

PART 3 EXECUTION

- EXAMINATION

- Verification of Conditions:

- All wet work in the installation area must be complete, cured, and dry prior to installation.

- INSTALLATION

- Comply with manufacturer’s instructions and recommendations for installation of wall panels and with industry standards.

END OF SECTION