SECTION 08 56 73

Tru AcousticsTM Interior Soundproof Windows – STC 56

PART 1 GENERAL

- SECTION INCLUDES

  - Tru AcousticsTM STC 56 interior soundproof window and accessories for installation.

- REFERENCES

  - American Society for Testing and Materials (ASTM)

    - ASTM E90: Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

- SUBMITTALS

  - Product Data: Manufacturer’s data sheet and installation instructions.

  - Test Reports: Upon request, submit certified test reports to verify specified product performance.

- QUALITY ASSURANCE

  - Qualifications:

    - Manufacturers: Provide acoustical windows from a single manufacturer.

    - Installers: Utilize an installer having demonstrated experience on projects of comparable size and complexity.

  - Performance Requirements:

    - Acoustical Characteristics: Acoustical panels to perform as specified when tested in accordance with ASTM E90.

- DELIVERY, STORAGE, AND HANDLING

  - Storage and Handling Requirements:

    - Handle windows carefully to avoid any damage.

    - Store windows indoors in a clean, cool, dry place, and out of direct sunlight.

    - Store windows in a space where the ambient temperature and humidity conditions are being maintained at the levels indicated for the project when occupied for its intended use.

- SITE CONDITIONS

  - Ambient Conditions:

    - Maintain ambient temperature and humidity conditions at levels indicated for the project when occupied for its intended use.

    - Do not install products under environmental conditions outside manufacturer’s recommended limits.

  - Existing Conditions: Do not install windows until space is enclosed and weather proofed, and wet work is completely dry.

- WARRANTY

  - Provide manufacturer’s written product warranty per Section 01 77 00 – Closeout Procedures.

PART 2 PRODUCTS

(Specifier Note: Red colored text below requires you to select an option before this specification can be completed. Options in red text are bound by parenthesis. Additional Tru Acoustics Soundproof Window information can be found on the Tru Acoustics Window Product Page of our website.)

- MANUFACTURERS

  - Second Skin Audio, 13825 W Business Center Drive STE B, Lake Forest, IL 60045.
Phone: 800-679-8511. Website: www.secondskinaudio.com

- DESCRIPTION

  - Product: Tru AcousticsTM STC 56 interior soundproof window by Second Skin Audio

  - Window Options:

    - Window Size:		Custom – inquire for details on maximum sizes

    - Glazing:		1” insulated glass (I.G.) unit made from two pieces of 1/4”
 			laminated glass with 1/2" airspace, with additional 3/8” laminated
 			glass

    - Glazing Angle:		(Standard – 4 degrees) / (Flat)

    - Tint (Optional): 	(Tinted) / (One-way Mirror Pane) / (Safety Glass) / (Custom Glass)

  - Window Frame Options:

    - Frame Composition:	Anodized Aluminum

    - Frame Size: 		6-3/8”

    - Frame Finish:		(Clear) / (Bronze) / (Powder Coat)

    - Acoustical Insert:	BlocknZorbe – Class A Fire Rated

  - Window Performance:

    - Acoustical Performance

      - Sound Transmission Class (STC) per ASTM E90 – 55

- ACCESSORIES

- Attachment hardware for windows as specified by manufacturer for installation.

PART 3 EXECUTION

- EXAMINATION

  - Verification of Conditions:

    - Examine openings, substrates, anchorage, and conditions.

    - All wet work in the installation area must be complete, cured, and dry prior to installation.

    - Wall assembly shall be complete, inspected, and accepted before window work begins.

- INSTALLATION

- Comply with manufacturer’s instructions and recommendations for installation of windows and with industry standards.

- CLEANING

- Clean surfaces of windows per manufacturer’s instructions or recommendations.

- Clean aluminum surfaces immediately after installing windows. Avoid damaging protective coatings and finishes.

- PROTECTION

- Protect installed work from damage due to subsequent construction activity, including temperature and humidity limitations and dust control, so that the work will be without damage and deterioration at the time of acceptance by the owner.

END OF SECTION